# City of Columbia – Tropical Storm Debby

Sit-Rep #3 – 8:00 a.m.

Columbia Water

Columbia Water Leadership Team:

Key personnel have been briefed and are readied for mobilization. Emergency contact list below:

| EMERGENCY CONTACT INFORMATION |  |  |
| --- | --- | --- |
|  | OFFICE PHONE | CELL PHONE |
| Clint Shealy | 733-8682 | 240-6350 |
| Frank Eskridge | 476-0958 | 683-1447 |
| Andrea Bolling (Dana) | 545-3379 | 413-7981 |
| Tiffany Latimer | 545-3306 | 629-1901 |

08/06/2024, 08:00 Status:

- Storm preparedness actions complete.  Continuing to stay in contact with key personnel at office, treatment plant, and field operations locations.

08/06/2024, 20:00 Status:

- No change in operational status from previous update

08/07/2024, 8:00 Status

- No change in operational status from previous update

Customer Care:

Key personnel have been briefed and are readied for mobilization. Emergency contact list below:

| EMERGENCY CONTACT INFORMATION |  |  |
| --- | --- | --- |
|  | OFFICE PHONE | CELL PHONE |
| Tiffany Latimer | 545-3306 | 629-1901 |
| Denita Gaulman | 545-3307 | 543-5249 |
| Mack Paul | 545-4194 | 413-3401 |

08/06/2024, 08:00 Status:

- Call center fully staffed, possibly moving to remote on 8/7

- Call volume normal

- No water service disconnects scheduled for 8/7 to 8/9; limited field staff available for customer requested emergency shut-off or service turn-ons

08/06/2024, 20:00 Status:

- No change in operational status from previous update

08/07/2024, 8:00 Status:

- No change in operational status from previous update

Water Works:

Key personnel have been briefed and are readied for mobilization. Emergency contact list below:

| EMERGENCY CONTACT INFORMATION |  |  |
| --- | --- | --- |
|  | OFFICE PHONE | CELL PHONE |
| CANAL |  |  |
| Trey Varn | 749-5854 | 727-0451 / 606-1053 |
| Canal Control Room | 733-8336 |  |
| Canal Guard Shack | 401-8845 |  |
| Tyler Dillman | 733-8339 | 626-8789 |
| Sam Hept | 733-8230 | 422-8127 |
| John Quinn | 733-8336 | 664-0124 |
| Alejandra Beier | 733-8211 | 920-9324 |
| LAKE MURRAY |  |  |
| Lake Murray Control Room | 781-2181 |  |
| Lake Murray Guard Shack | 749-5825 |  |
| Corey Jarels | 749-5857 | 849-0668 |
| David Sharpe | 749-5858 | 600-2979 / home 781-8754 |
| Sam Hess | 749-5853 | 386-5691 |

08/6/2024, 08:00 Status:

- Lake Murray Plant and Canal Plant:

  - Normal operations, no issues at this time

  - Chemicals inventories verified

  - Vehicles fueled and ready

  - Emergency generators tested and fuel supply verified

  - Portable generator is staged at Brockington Road Pump Station

  - Portable Pump is staged at Hobart Pump Station

  - Clearwells and distribution tanks will be maintained at or near full levels

- Columbia Canal:

  - Temporary pipe located and inventoried

  - Temporary pumping units available through supplier as needed

  - Canal will be inspected prior to, during and following storm event

08/06/2024, 20:00 Status:

- Route Maintenance to check Monticello Road pump station for rising water levels

- Monticello Road pump station back in service

- Rimer Pond Tank being put back into service

08/07/2024, 8:00 Status:

- No change in operational status from previous update

Water Distribution:

Key personnel have been briefed and are readied for mobilization. Emergency contact list below:

| EMERGENCY CONTACT INFORMATION |  |  |
| --- | --- | --- |
|  | OFFICE PHONE | CELL PHONE |
| MAIN OPERATIONS |  |  |
| Jeremy Yates | 545-3881 | 429-5908 |
| David Winburn | 545-3896 | 876-4944 |
| Roger Murray | 545-3875 | 497-8957 |
| Charles Lockey | 545-4266 | 600-0618 |
| Barrett Burgess | 545-3877 | 297-4757 |
| Prentiss Brooks (Safety) | 545-3916 | 600-7321 |
| GENERAL NUMBERS |  |  |
| Water Maintenance Work Orders (Call Customer Care) | 545-3300 |  |

08/06/2024, 08:00 Status:

- Operations normal, no issues at this time

- On-call personnel notified of potential event

- Vehicles fueled and ready

- Specialized equipment verified and ready

08/06/2024, 20:00 Status:

- Operations normal; no issues at this time

- On-call personnel are on standby

08/07/2024, 8:00 Status:

- No change in operational status from previous update

Metro Wastewater Plant:

Key personnel have been briefed and are readied for mobilization. Emergency contact list below:

| EMERGENCY CONTACT INFORMATION |  |  |
| --- | --- | --- |
|  | OFFICE PHONE | CELL PHONE |
| MAIN OPERATIONS |  |  |
| Stephen Sealey– MAIN CONTACT | 545-0208 | 465-7331 |
| Ferlon Hamilton (Maintenance) | 545-0214 | 600-3873 |
| LEAD OPERATOR |  |  |
| Lead Op Cell (contact will change) |  | 413-8376 |
| SSO STATUS (WW Compliance) |  |  |
| Tim Monroe (Primary on-call) |  | 803-363-9843 |
| Brian Covington (Back up on-call) |  | 803-904-3813 |
| LIFT STATIONS |  |  |
| Stephen Sealey | 545-0208 | 465-7331 |
| GENERAL NUMBERS |  |  |
| Metro Main Line | 545-0224 |  |

O8/6/2024, 08:00 Status:

- Operations normal, no issues, still experiencing elevated flows from previous rain events

- Equalization basin at 124FT (max pool 136ft)

- Saluda River storage tank low with available capacity

- Chemical inventories verified, additional deliveries scheduled for today

- Vehicles fueled and ready

- Generators fueled and ready

- Bypass pumps fueled and ready

08/06/2024, 20:00 Status

- Operations normal; no issues at this time

- Currently treating ~75 MGD to preserve storage capacity

- WWTP Equalization basin at 124.5 ft (max pool 136ft)

- Influent flow rate is 110MGD

- Saluda River storage tank #1 is at 25ft (max pool 136ft) and tank #2 is empty

- No known SSOs at this time

08/07/2024, 8:00 Status:

- Conditions in the sanitary sewer collection system have deteriorated since our last update

- Overnight the sustained rainfall from the past 24 hours have caused sanitary sewer overflows at various locations

- Columbia personnel are monitoring these locations in accordance with established procedures

- Flows into the metro wastewater treatment plant have been elevated, at or over 110 MGD for approximately 12 hours (Metro average flow 30 MGD -design capacity 60MGD)

- Metro staff are making use of the Equalization basin, which still has approximately half its capacity available (to manage these excessive flows)

- We are pursuing steps to restore pump function at three of our major sewer lift stations

- Further updates will be provided as available

Wastewater Maintenance Preparation:

Key personnel have been briefed and are readied for mobilization. Emergency contact list below:

| EMERGENCY CONTACT INFORMATION |  |  |
| --- | --- | --- |
|  | OFFICE PHONE | CELL PHONE |
| MAIN OPERATIONS |  |  |
| Jeremy Yates | 545-3881 | 429-5908 |
| George Bryan | 545-0415 | 807-0335 |
| Jason Manchee | 724-6913 | 603-4544 |
| Jody Harley | 545-3913 | 600-5618 |
| GENERAL NUMBERS |  |  |
| WW Maintenance Main Line | 545-3911 |  |

08/6/2024, 08:00 Status:

- Operations normal, no issues at this time

- On-call personnel notified of potential event

- Vehicles fueled and ready

- Bypass pumps fueled and ready

- Specialized equipment verified and ready

- Vacuum trucks verified and ready

- Roll off boxes verified and ready

08/06/2024, 20:00 Status

- Operations normal; no issues at this time

- Smart Covers are being monitored and checked

- On-call personnel are on standby

08/07/2024, 8:00 Status:

- Maintenance staff enroute to assist Metro with influent grit cleaning

- Operations normal; 1 current issue at this time

- Smart Covers are being monitored and checked

-Candi Lane is still overflowing

-Shady Lane overflowing has stopped

-Stevenson Road overflowing has stopped

- Staff/On-call personnel are on standby

Engineering:

Key personnel have been briefed and are readied for mobilization. Emergency contact list below:

| EMERGENCY CONTACT INFORMATION |  |  |
| --- | --- | --- |
|  | OFFICE PHONE | CELL PHONE |
| MAIN OPERATIONS |  |  |
| Andrea Bolling | 545-3379 | 413-7981 |
| Frances Bryan | 545-3544 | 923-0101 |
| STORMWATER AND FLOOD PREPARATIONS |  |  |

| AJ Jessee |  | 528-7022 |
| --- | --- | --- |

| FLOOD PREPARATIONS |  |  |
| --- | --- | --- |
| Ali Khan | 545-3386 | 528-7022 |
| CONSTRUCTION/ CONTRACTOR RESPONSE |  |  |
| Tim Sox |  | 309-1753 |
| GENERAL NUMBERS |  |  |
| Engineering Main Line | 545-3400 |  |

08/6/2024, 08:00 Status:

- Operations normal; no issues at this time

- Majority of staff working remotely 8/6

08/06/2024, 20:00 Status:

- Operations normal; no issues at this time

08/07/2024, 8:00 Status:

- No change in operational status from previous update

Columbia-Richland Fire Department

Current Weather Conditions in Columbia : Mostly Sunny

Flood Watch in Effect for Cola. Metro Area Through Friday Morning August 9th

DEPARTMENT-WIDE OVERVIEW

- At this time the department is dealing with normal call volume. The most recent Flash Flood Warning issued for the Columbia metro area expired Tuesday night at 8:45 p.m. Today and into tonight the Midlands is expected to see more periods of heavy rain from the storm. - Heads of the fire department are continuing to monitor the forecast and the latest developments on Debby. - Tuesday evening FD crews ran several calls due to power lines arcing due to downed trees and tree limbs from the weather.

OPERATIONS DIVISION

- From the time our first operational period began for Debby at 19:45 Tuesday, FD crews ran: - 3 calls for power lines arcing - 1 call for a collapsed structure - 7 calls for motor vehicle accidents - 1 call for a possible structure fire (turned out to be a mechanical issue caused by a leaking chimney in a home) - At last report all crews were relieved on time at shift change this morning with no personnel having to be held over.

PUBLIC INFORMATION OFFICE

- Our public information office is continuing to share the latest local developments on the storm on our CRFD social media accounts. This includes the latest updates on Debby from the National Weather Service. - Citizens have been advised to avoid unecessary travel and avoid flooded roadways as periods of heavy rain remain likely today into tonight.

Columbia Police Department

- 08/06/24 at 22:22 hours- All flood prone areas have minimal standing water.

- 08/06/24 at 23:15 hours—Wheat Street and Edgerton Ct., tree down. Customer Care notified. Traffic cones have been placed around it.

- 08/07/24 at 06:38 hours- Pelham Drive and Gills Creek, tree down. Officers on scene due to live wire down. Customer Care and Dominion were notified.

- 08/07/24 at 07:29 hours- Moss Ave and S. Bonham, tree down blocking the roadway. Customer Care notified. Traffic cones were placed around it.

- 08/07/24 at 07:39 hours- Pelham Drive and Preserve Lane, tree down partially blocking the sole means of entering and exiting the Preserve neighborhood. Customer Care notified.

City Administration/Operations

Fleet Services

1. Fuel tanks at all locations are being topped off.

2. Generators have been inspected and tested.

3. Public Works clamshell loader parts arrived unit is being repaired and will be returned to service this morning.

4. Spoke with Police, high water vehicles were cranked and tested on Friday per Police. All issues with these units have been addressed.

5. Staff are on-call and ready to respond as needed.

6. Staff will be working onsite on Wednesday and Thursday.

Support Services

1. Generators have been inspected and tested.

2. A temporary generator has been installed at Rapid Shelter Columbia and will serve the Pallet Shelters should we lose power. Building A and Building B at Rapid Shelter do not have generator power.

Support Services has delivered and install two foosball tables at Rapid Shelter

3. Staff have completed all roof and drain inspections.

4. Staff have staged sand bags should the need arise.

5. Staff are on-call and ready to respond as needed.

6. Staff will be working onsite on Wednesday and Thursday.

Parking Services

1. Parking office closed to the public, similar to other City offices.

 Staff will focus on emails and catching up on student parking applications, appeals.

 Staff will continue to answer the phones.

2. All Operations and Facilities staff have reported to work.

3. We will continue to monitor weather conditions

 Enforcement is prepared to enforce the parking decks as needed.

 Meter Shop is prepared to work in the shop repairing meter mechs as needed.

4. No reported issues of floods or elevator outages.

5. Parking Deck gates remain down and under normal operations.

Page 2 of 2

Parks and Recreation

1. All Park Facilities secure and sandbags in place at low line facilities.

2. Essential staff on standby if needed.

3. No assessed damages reported in the parks as of 8am on 8/07/2024

Columbia-Richland Emergency Communications

1. CRC 9-1-1 is operating in Emergency Standby as of 08/05/2024 at 1900.

2. Staffing levels are consistent with daily operational staffing and will be adjusted accordingly based on call volume and demand.

3. As of 8/7/2024, Richland County Emergency Services Division nor City of Columbia EOC, have requested a Tactical Dispatcher.

| 08/05/2024 |  | 08/06/2024 |  |  | 08/06/2024 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Phones | 1900 – 0700 |  | 0700 - 1900 | 1900-0700 |  | Total |
| 911 | 325 |  | 593 | 356 |  | 1,274 |
| Admin | 481 |  | 1,110 | 606 |  | 2,197 |
| Daily Total | 806 |  | 1,703 | 962 |  | 3,471 |
| Agencies |  |  |  |  |  |  |
| CPD | 166 |  | 199 | 146 |  | 511 |
| CFD | 46 |  | 92 | 60 |  | 198 |
| RCSD | 158 |  | 215 | 131 |  | 504 |
| RCEMS | 113 |  | 141 | 87 |  | 341 |
| Public Works | 1 |  | 2 | 4 |  | 7 |
| Daily Total | 484 |  | 649 | 428 |  | 1,561 |

Homeless Services

There are no concerns or needs at this time.

Overflow

Key contract partners provided services which started 8/6/2024 at 3:00pm.

Clients were transported on and off-site via the COMET bus and there were no issues.

Transitions Homeless Center provided staff and operated processes to ensure a safe environment. There was a total of 91 clients, 14 of those were drop-offs from CPD and 1 drop-off from Lexington Medical Center.

RSC staff assisted to ensure that there were no issues with both programs functioning at the same time and there were no issues.

Security controlled access to the facility and provided extra support inside the facility on each side. There were no issues.

We will continue to monitor the weather and impacts of Tropical Storm Debby and will make necessary adjustments regarding opening the Overflow on Wednesday, August 7, 2024.

Key Contract Partners

Transitions Homeless Center

Salvation Army

COMET

Allied

Public Works

Public Works Administration

No unmet needs at this time

Animal Services

No unmet needs at this time

Forestry & Beautification

No unmet needs at this time

Crews working on hangers and removals from Micro-burst

Solid Waste

No unmet needs

Yard trash crews will be collecting storm debris

Street Division

No unmet needs at this time

Traffic Engineering

No unmet needs at this time

Public Relations, Media & Marketing

Website Updates

- Website Banners

  - Hurricane Debby: Everything You Need to Know

    - Latest Press Releases

    - Information Sheets

    - Press Conference Briefing Footage

    - SCEMD Information

    - Postponements & Cancelations

  - List of Closings and Cancelations

  - Limited Operations

- Press Release Section

  - Updated with latest press releases sent out to media

Social Media

- Instagram

  - City to Operate with Limited Operations

- Facebook

  - City to Operate with Limited Operations

- X

  - City to Operate with Limited Operations